## Method Type - Immunodiagnostics
Immunodiagnostic Modifications
Including, but not limited to: lateral flow, ELISA
Guidance Detail - Immunodiagnostics
Category | Component | Type of change | Level of Change |  |  |  | Study Design - Testing Requirements on Separate Tab
|  |  | Level 3 | Level 2 | Level 1 | Internal Info
Assay Reagents | Critical - The basis of the method (e.g. antibody, calibrant, gold colloid, antigen conjugate in competitive assays) | Modification of antibodies, calibrant or gold colloid: 1. Polyclonal antibody - new animal species 2. Monoclonal antibody - replacement or addition or new clone 3. Modification to conjugation chemistry for the primary antibody (e.g. antibody-HRP conjugations) or primary antigen conjugation in competitive ELISAs 4. Gold colloid - changing the size or shape 5. Calibrant (what the kit is balanced to during the manufacturing process, such as standards in ELISA)- changing the material or the nature of the material (e.g. peanut butter to peanut flour or Aflatoxin standard in Acetonitrile to Mycotoxin Reference Material) | X |  |  |  | 1. Selectivity - full study 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability 5. Lot-to-lot consistency 6. Independent laboratory study
|  | Modification of critical reagent production process (e.g. new column supplier, new media for hybridomas, polishing antibodies, etc.) in which performance claims are changed | X |  |  |  | 1. Selectivity - full 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability 5. Lot-to-lot consistency 6. Independent laboratory study
|  | Calibrant - changing from a reference material/standard to non-reference material/standard (e.g. certified reference material to store-bought material) or vice vera. This assumes the calibrant material is the same. |  | X |  |  | 1. Calibration study if applicable 2. Matrix study & LOD/LOQ if applicable 3. Product stability
|  | Modification of an existing antibody without modification of the recognition site (binding site). Change in animal for polyclonal antibody (same species). |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability
|  | Change in the concentration of antibody or change in gold colloidal reducing agent. This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability
|  | Change in reaction pH @ antibody/antigen step (pH change > 0.5). NOTE: major changes in pH (pH change > 3.0) would be a level 3 modification |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | Change in reaction volume @ antibody/antigen step (identical concentration) |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | New vendor for critical material (no change to the material itself) |  | X (Non-ISO 9001) |  | X (ISO 9001) | Level 2: 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Lot-to-lot consistency Internal Info: 1. Internal lot-to-lot consistency 2. Selectivity - subset
|  | Modification of critical reagent production process (e.g. new column supplier, new media for hybridomas, polishing antibodies, etc.) without changes to performance claims |  |  | X (Non-ISO 9001) | X (ISO 9001) | 1. Internal lot to lot consistency
|  | Polyclonal antibody - new bleeds from same animal(s) |  |  |  | X | 1. Internal lot-to-lot consistency
| Active - Not critical, but involved directly in the reaction (e.g. color change reagents, peroxidase, conjugate, etc.) | Replacement, addition, removal or change in concentration of active ingredient (e.g. new active ingredient to cause color change during substrate reaction). This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. |  | X |  |  | 1. Matrix study & LOD/LOQ if applicable 2. Product or component stability 3. Lot-to-lot consistency If data from the new process falls outside of performance claims (within method developers tolerance), change must be evaluated as a level 3 modification.
|  | Modification of conjugation chemistry (e.g. secondary antibody conjugations) |  | X |  |  | 1. Matrix study & LOD/LOQ if applicable 2. Product or component stability 3. Lot-to-lot consistency
|  | Modification of active reagent prdouction process (e.g. batch size, rate, coating time, drying, homogenization, etc.) |  |  |  | X | 1. Internal verification of product quality
|  | New vendor for active ingredient (no change to the material itself) |  |  |  | X | 1. Internal lot-to-lot consistency
| Supporting - Not involved in the method reaction (buffers, pH adjustors, preservatives, etc.) | Replacement, addition, removal or change in concentration of supporting ingredient (e.g. different preservative, salt, or phosphate buffer). This does not include concentration adjustments needed to meet established product quality specifications as part of standard manufacturing process. |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 accredited manufacturing facilities: lot-to-lot consistency data - 3 lots of new + 1 lot of old tested with 1 matrix across analytical range. ISO 9001 accredited facilities: Internal lot-to-lot consistency and component stability data is expected. If data from the new process falls outside of the performance claims (within method developers tolerance), change must be reported to AOAC as a level 2 modification.
|  | New vendor for supporting ingredient (no change to the material itself) |  |  |  | X | 1. Internal verification of product quality
Other Physical Materials | Antibody support and capture mediums (microplates, cones, latex, membranes, etc.) | Modification of the capture medium material composition (e.g. changing from plastic to latex, changing composition of plastics) | X |  |  |  | 1. Selectivity - full study 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Product stability 5. Lot-to-lot consistency 6. Independent laboratory study
|  | Modification of the capture medium material composition with the same intended properties or modification of the capture medium (e.g. lateral flow membrane or microwell) size or shape. |  | X |  | X | Discuss with your AOAC consultant to determine whether the change is a level 2 or internal information. Level 2: 1. Matrix study & LOD/LOQ if applicable 2. Robustness Internal Info: 1. Internal lot to lot consistency
| Other Physical Materials | New vendor for capture medium (e.g. lateral flow membrane or microwell) |  |  |  | X | 1. Internal lot to lot consistency
|  | Modification to the containers used to house kit components (e.g. lateral flow cassette, barrettes, plastic to glass) |  |  |  | X | 1. Internal lot to lot consistency
|  | Modification to single-use kit components that do not house kit components (e.g. test tubes, mixing tubes, single-use pipettes) |  |  |  | X | 1. Internal verification of product quality
|  | New vendor for container material (e.g. lateral flow cassette, barrettes) |  |  |  | X | 1. Internal verification of product quality
Instrumentation | Hardware (e.g. Readers, heat blocks, automation in testing) | Adding new analytical or advanced instrumentation with changes to data acquisition and software | X |  |  |  | 1. Selectivity 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Independent laboratory study
|  | Add a new instrument (e.g. new reader, hardware used for heating steps, or automation), adding a visual or manual option. End users can also work within regulatory frameworks to add automation to method steps. |  | X |  |  | 1. Selectivity - subset 2. Matrix study & LOD/LOQ if applicable 3. Instrument variation study - only required for new proprietary instruments
|  | Physical modifications to the hardware with impact on data acquisition or interpretation (e.g. upgraded camera or thermal block) |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | Physical modifications to the hardware with no impact on data acquisition or interpretation (e.g. upgrading to a touch screen) |  |  |  | X | 1. Internal verification of product quality
| Firmware (programed into the hardware) or Software (programed into the computer/processing for analysis) | Modifications to the firmware/software with impact on performance claims (cut-off, regression model, calibration curve optimizations where product claims are changed) | X |  |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Independent laboratory study
|  | Modifications to the firmware/software without impact on the claims (traceability, installation, bug fixes, minor calibration curve optimizations where performance claims are still met within AOAC specifications) |  |  |  | X | 1. Internal verification of product quality
Method Workflow | Enrichment media for microbiology methods | Replacement, addition, removal or change in a critical component. In enrichment media, critical components define the outcome of the formulation by way of selectivity or uniqueness to the end result. | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. In some cases selectivity may not be required, this must be determined in consultation with AOAC. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study
|  | Addition or removal of an active component. In enrichment media, active components are used in the formula with a wide range of performance and specificity. | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study
|  | Replacement or change of an active component without impact on performance claims. In enrichment media, active components are used in the formula with a wide range of performance and specificity. |  | X |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Matrix study & LOD/LOQ if applicable
|  | Replacement, addition or change in concentration of proprietary media supporting ingredient without impact on performance claims. In enrichment media, supporting ingredients are not responsible for growth or inhibition (e.g. buffers, pH adjustors, preservatives, inert components, etc.). |  |  |  | X | 1. Internal selectivity 2. Internal lot to lot consistency data
| Extraction/lysis for chemistry methods or microbiology methods | Adding an additional extraction procedure or lysis reagents/protocol. | X |  |  |  | 1. Selectivity - Perform full inclusivity + 10 exclusive organisms (for blind coding). Subset must be chosen in collaboration with AOAC consultant. 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Robustness - may be required depending on the change and robustness parameters tested in the original study 5. Independent laboratory study
|  | Change to the concentration (for non-titrated reagents) or activity level (for titrated reagents) of the current extraction solution critical or active ingredient (e.g. reagent responsible for cell lysis, chemical responsible for extracting analyte). Critical Ingredient: The basis of the extraction of lysis Active Ingredient: Non-critical but involved directly in the reaction |  | X |  |  | 1. Selectivity 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
|  | Replacement, addition or change in extraction/dilution solution supporting ingredient without impact on performance claims. Supporting Ingredient: Not involved in the method reaction (e.g. buffers, pH adjustors, preservatives, inert components, etc.) |  |  |  | X | 1. Internal selectivity 2. Internal lot to lot consistency data
| Vendor change to enrichment/extraction reagents | New vendor for critical material (no change to the material itself) Critical Ingredient: The basis of the extraction of lysis |  | X (Non-ISO 9001) |  | X (ISO 9001) | Level 2: 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Lot-to-lot consistency Internal Info: 1. Internal lot-to-lot consistency 2. Selectivity - subset
|  | New vendor of an active ingredient in a proprietary media or extraction/dilution solution. Active Ingredient: Non-critical but involved directly in the reaction |  |  |  | X | 1. Internal lot to lot consistency
|  | New vendor of a supporting ingredient in a proprietary media or extraction/dilution solution. Supporting Ingredient: Not involved in the method reaction (e.g. buffers, pH adjustors, preservatives, inert components, etc.) |  |  |  | X | 1. Internal verification of product quality
| Time or temperature changes | Shortening enrichment, extraction, or incubation time Temperature changes during enrichment, extraction, lysis, or incubation where the existing range does not overlap with the new range (e.g. 30 ± 2°C to 37 ± 2°C) | X |  |  |  | 1. Selectivity 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable 4. Independent laboratory study
|  | Shortening lysis time Lengthening enrichment, extraction, lysis, or incubation time Temperature changes during enrichment, extraction, lysis, or incubation where the existing range does overlap with the new range (e.g. 30 ± 2°C to 34 ± 2°C ) |  | X |  |  | 1. Selectivity - subset 2. Calibration study if applicable 3. Matrix study & LOD/LOQ if applicable
| Dilution Ratio and Test Portion Size | Microbiology methods: Change in test portion to media ratio or increase in test portion size with the same dilution ratio. |  | X |  |  | 1. Matrix study - Test all matrixes affected by new procedure
|  | Chemistry methods: Change in test portion to extraction solution dilution ratio or change in test portion size with the same test portion to extraction solution ratio. |  | X |  |  | 1. Matrix study & LOD/LOQ if applicable - Test all matrixes affected by new procedure.
|  | Microbiology methods: Decrease in test portion size with the same test portion to media ratio (assuming the test portion size does not go smaller than the reference method portion size). |  |  | X |  | Any changes to instructions or literature would follow standard editorial level 1 modification process.
| Other changes to method steps | Adding a DNA removal step |  | X |  |  | 1. Calibration study if applicable 2. Matrix study & LOD/LOQ if applicable
|  | Other changes to method steps | X | X | X | X | Discuss with your AOAC consultant to determine level of change.
Production site and equipment | Production site and equipment | Adding a new production site with new equipment |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 accredited manufacturing facilities: lot-to-lot consistency data - 3 lots of new + 1 lot of old tested with 1 matrix across analytical range. ISO 9001 accredited facilities: Internal lot-to-lot consistency data is expected. If data from the new process falls outside of the performance claims (within method developers tolerance), change must be reported to AOAC as a level 2 modification.
|  | Moving existing equipment to a new production site (new address) |  |  |  | X | 1. Internal verification of product quality
|  | New equipment at same production site |  |  |  | X | 1. Internal verification of product quality
Matrix claims | Extensions with existing methods | Adding a matrix group to claims. Matrix groups may include: environmental sample, food, or cannabis. | X |  |  |  | 1. Calibration study if applicable (e.g. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable - Test all matrixes that will be added to the claim. 3. Independent laboratory study - 1 matrix study for every 5 tested in the matrix study above.
|  | Adding a new matrix that exceeds the requirement of an independent laboratory performing 1 matrix study for every 5 claimed | X |  |  |  | 1. Calibration study if applicable (e.g. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable - Test all matrixes that will be added to the claim. 3. Independent laboratory study - 1 matrix study for every 5 tested in the matrix study above.
|  | Adding a new matrix that does not exceed the requirement of an independent laboratory performing 1 matrix study for every 5 claimed |  | X |  |  | 1. Calibration study if applicable (e.g. matrix matched standards) 2. Matrix study & LOD/LOQ if applicable- Test all matrixes that will be added to the claim.
| Extensions with new methods | Adding a new matrix with a new enrichment or change to enrichment procedure. Adding a new matrix with a new extraction or change to the extraction procedure. | X | X |  |  | Follow guidelines above in 'method workflow' section and 'matrix claim-extensions with existing methods' section. Perform all relevant test requirements.
| Matrix Removal | Removing a matrix from the claim |  |  | X |  | Any changes to instructions or literature would follow standard editorial level 1 modification process. See editorial changes to document section. If a matrix is removed due to poor performance, the limitation must be placed in the IFU.
Changes to Quality Control | Changes to QC procedure | Changes to QC procedure |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 manufacturing facilities: At annual renewal, send updated QA/QC summary procedure. An AOAC consultant will determine whether data must be submitted. ISO 9001 manufacturing facilities: Follow appropriate ISO 9001 steps for changes in QC procedures. AOAC should always have your updated ISO 9001 certificate. Submit updated ISO 9001 certificate at annual renewals.
Shelf life extension | Shelf life extension | Shelf life extension |  |  | X (Non-ISO 9001) | X (ISO 9001) | Non-ISO 9001 manufacturing facilities: At annual renewal, submit shelf life extension data to AOAC. ISO 9001 manufacturing facilities: Follow appropriate ISO 9001 steps for changes in shelf life. AOAC should always have your updated ISO 9001 certificate. Submit updated ISO 9001 certificate at annual renewals.
Editorial changes to documents (IFU, labels, packaging, etc.) with AOAC PTM mark | Editorial changes unrelated to anything above | Editorial change with immediate certificate update needed (e.g. re-branding) |  |  | X |  | Level 1 modification must be done before or at time of new document release. A level 1 modification fee will be charged.
|  | Editorial change with either no certificate updates needed or delayed certificate updates needed |  |  | X |  | Level 1 modification can be submitted with annual renewal. Only the annual renewal fee will be charged.
Method modifications that are not covered by any other section of this document. |  |  | X | X | X | X | Discuss with AOAC Research Institute staff or consultant to determine level of change.
APPROVED August 2024